# Schuylerville-Victory Board of Water Management

Meeting Minutes – September 29, 2025
Location: Village of Victory

### 1. Call to Order & Pledge of Allegiance

The meeting was called to order, and the Pledge of Allegiance was recited.

### 2. Attendance

- Chairman Drew

- Commissioner Campbell

- Commissioner Healy

- Commissioner Dennison

### 3. Announcements

- The next Water Board meeting is scheduled for Monday, October 20, 2025 at 6:00 PM, at the Village of Victory.

### 4. Approval of Previous Minutes

- Motion to approve August 2025 meeting minutes commissioner Dennison 2nd by Commissioner Campbell.

- Motion carried unanimously.

### 5. Treasurer’s Report as of August 31, 2025

- Operating Account: $137,174.48

- NYCLASS Operating Account: $104,335.95

- Filter Account: $62,634.52

- NYCLASS Filter Account: $223,745.52

- Capital Reserve Savings Account: $26,514.15

- NYCLASS Capital Account: $30,245.15

Motion: Commissioner Dennison made motion to move $50,000 from the Filter Account to the NYCLASS Filter Account to take advantage of higher interest 2nd by Commissioner Campbell.

- Motion carried unanimously.

### 6. Plant Operations Report

- Total plant flow for August: 7,153,371 gallons.

- Generator service completed by Cummins; new battery installed at the water tower generator.

- One-micron filters received, sufficient for another year of changeouts.

- Motion approved to purchase Hypersperse anti-sealant for $5,700 from OCS Chemical Commissioner Campbell made the motion to approve the purchase, motion was 2nd by Commissioner Dennison.

- Motion carried unanimously.

### 7. Grinder Pump Service

- Grinder pump has not been serviced in many years and recently failed, causing flooding in the lab area.

- Board agreed to have George LaPlante inspect the system and will consider replacement options. If necessary, Victory may replace the pump in-house, with the Water Board reimbursing costs.

### 8. Turbometer Calibration

- GCS will provide a quote for annual turbometer calibration for both plants at the October meeting.

### 9. Victory Plant Update

- Total plant flow for August: 3,337,253 gallons.

- Sodium Permanganate System: Motion to approve ECS rebuild kit purchase for $604 (including shipping). Motion approved by Commissioner Dennsion and seconded by Commissioner Campbell.

- Motion carried unanimously.

### 10. Alarm Dialer

- New alarm dialer installed and operational. Additional wiring may be needed to fully utilize the system.

### 11. Air Scour Blower Replacement

- New blower package received. Board approved JCF Water Consultants to complete installation.

- If needed, Mark Rogers may assist with installation.

### 12. Lead Service Line Inventory (LSLI)

- Discussion scheduled for October meeting.

- Annual notices must be mailed in November to properties with unknown or lead/galvanized service lines.

- Concerns raised about increased project costs and potential need to adjust project phases.

### 13. Safety Training

- Scheduled for October 29, 2025.

- Villages will cover associated costs.

### 14. Insurance Claim

- The water board received $5,174.66 from an insurance claim related to a July power surge.

### 15. Bank Accounts Discussion

- The Water Board maintains six accounts.

- Commissioners agreed current structure is beneficial due to interest earnings and clear accounting separation.

- Three accounts are operational (Operating, Filter, and Capital Reserve), and three are savings (NYCLASS accounts).

### 16. Public Comment: Request for Water Connection (Route 32 Properties)

A property owner requested information on connecting their multi-unit property and trailer park to the village water system. Key points discussed:

- Property lies outside the village and is classified as an “outside water user.”

- Extending water service would require engineering, water main extension, and installation of hydrants — estimated cost $1 million–$1.5 million.

- Board cannot legally allow private water lines from property to property.

- A potential option is for the Town of Saratoga to form a water district or annexation into the Village, though both are complex and long-term processes.

- Outside water users pay $217.50 per unit per quarter (vs. $145.00 for village users).

- Board encouraged the owner to pursue grants (e.g., CDBG) and engage with the Town of Saratoga as a first step.

### 17. Mill Site Redevelopment Update

- Village is in the process of purchasing the burned mill property.

- Debris removal is planned, with hopes to clear the site by spring 2026.

- Site will be open for developer proposals, with approximately $6 million in state grant funds expected to support redevelopment.

### 18. Audit and Approval of Claims

- A motion to approve vouchers in the amount of $48,776.88 was made by Commissioner Dennison and 2nd by Commissioner Healy

### 19. Adjournment

- Motion made to adjourn meeting by Commissioner Campbell and 2nd by Chairman Drew.

Respectfully submitted,
Jamie Porter
Recording Secretary, Schuylerville-Victory Board of Water Management